## Biomarkers VS Abreviation
Biomarker | Biomarker Name
MPV | Mean platelet volume
BASO# | Basophil Cell Count
PHOS | phosphorus
GLU. | glucose
CA72-4 | Carbohydrate antigen 72-4
K | kalium
AST | Aspartate aminotransferase
BASO% | Basophil Cell ratio
Mg | magnesium
CL | chlorine
CEA | Carcinoembryonic antigen
EO# | eosinophil count
CA19-9 | Carbohydrate antigen 19-9
ALB | albumin
IBIL | Indirect bilirubin
GGT | Gama glutamyltransferasey
MCH | Mean corpuscular hemoglubin
GLO | globulin
ALT | Alanine aminotransferase
DBIL | direct bilirubin
RDW | red blood cell distribution width
PDW | Platelet distribution width
CREA | creatinine
AFP | alpha-fetoprotein
HGB | hemoglobin
Na | Natrium
HE4 | human epididymis protein 4
LYM# | lymphocyte count
CA125 | Carbohydrate antigen 125
BUN | blood urea nitrogen
LYM% | lymphocyte ratio
Ca | calcium
AG | Anion gap
MONO# | mononuclear cell count
PLT | platelet count
NEU | neutrophil ratio
EO% | eosinophil ratio
TP | Total protein
UA | urie acid
RBC | Red blood cell count
PCT | thrombocytocrit
CO2CP | carban dioxide-combining Power
TBIL | total bilirubin
HCT | hematocrit
MONO% | monocyte ratio
MCV | mean corpuscular volume
ALP | Alkaline phosphatase

## Biomarker List and Description
Abreviation | Biomarker Name | Sample type | Instrument | Method | Lower limit | Upper Limit | Unit
MPV | Mean platelet volume | full blood | Sysmex XE-2100 | Calculation method | 7.4 | 12.5 | fL
BASO# | Basophil Cell Count | full blood | Sysmex XE-2100 | FCM with semiconductor laser | 0 | 0.06 | 10^9/L
PHOS | phosphorus | serum | Beckman Coulter AU5800 | Phosphomolyase method | 0.7 | 1.62 | mmol/l
GLU. | glucose | serum | Beckman Coulter AU5800 | Glucose oxidase method | 3.9 | 6.1 | mmol/l
CA72-4 | Carbohydrate antigen 72-4 | serum | Roche Cobas 8000 | ECLIA | 0 | 7 | U/ml
K | kalium | serum | Beckman Coulter AU5800 | ion selective electrode method | 3.5 | 5.3 | mmol/l
AST | Aspartate aminotransferase | serum | Beckman Coulter AU5800 | MDH method | 6 | 40 | u/l
BASO% | Basophil Cell ratio | full blood | Sysmex XE-2100 | Calculation method | 0 | 1 | %
Mg | magnesium | serum | Beckman Coulter AU5800 | XB-I method | 0.73 | 1.3 | mmol/l
CL | chlorine | serum | Beckman Coulter AU5800 | ion selective electrode method | 99 | 110 | mmol/l
CEA | Carcinoembryonic antigen | serum | Roche Cobas 8000 | ECLIA | 0 | 5 | ng/ml
EO# | eosinophil count | full blood | Sysmex XE-2100 | FCM with semiconductor laser | 0.02 | 0.52 | 10^9/L
CA19-9 | Carbohydrate antigen 19-9 | serum | Roche Cobas 8000 | ECLIA | 0 | 37 | U/ml
ALB | albumin | serum | Beckman Coulter AU5800 | bromcresol green method | 35 | 55 | g/l
IBIL | Indirect bilirubin | serum | Beckman Coulter AU5800 | Calculation | 2 | 15 | umol/L
GGT | Gama glutamyltransferasey | serum | Beckman Coulter AU5800 | Rate method | 3 | 73 | u/l
MCH | Mean corpuscular hemoglubin | full blood | Sysmex XE-2100 | Calculation method | 27 | 34 | Pg
GLO | globulin | serum | Beckman Coulter AU5800 | Calculation | 20 | 40 | g/l
ALT | Alanine aminotransferase | serum | Beckman Coulter AU5800 | Lactate dehydrogenase method | 1 | 45 | u/l
DBIL | direct bilirubin | serum | Beckman Coulter AU5800 | Vanadate oxidation | 1.5 | 7 | umol/l
RDW | red blood cell distribution width | full blood | Sysmex XE-2100 | Calculation method | 10.6 | 15.5 | %
PDW | Platelet distribution width | full blood | Sysmex XE-2100 | Calculation method | 15.5 | 18.1 | %
CREA | creatinine | serum | Beckman Coulter AU5800 | Jaffe method | 44 | 144 | umol/l
AFP | alpha-fetoprotein | serum | Roche Cobas 8000 | ECLIA | 0 | 7 | ng/ml
HGB | hemoglobin | full blood | Sysmex XE-2100 | SLS-Hemoglobin method | 110 | 150 | g/l
Na | Natrium | serum | Beckman Coulter AU5800 | ion selective electrode method | 137 | 147 | mmol/l
HE4 | human epididymis protein 4 | serum | Roche Cobas 8000 | ECLIA | 0 | 140 | pmol/L
LYM# | lymphocyte count | full blood | Sysmex XE-2100 | FCM with semiconductor laser | 1.1 | 3.2 | 10^9/L
CA125 | Carbohydrate antigen 125 | serum | Roche Cobas 8000 | ECLIA | 0 | 35 | U/ml
BUN | blood urea nitrogen | serum | Beckman Coulter AU5800 | Urease-glutamic acid dehydrogenase | 1.7 | 8.3 | mmol/l
LYM% | lymphocyte ratio | full blood | Sysmex XE-2100 | Calculation method | 20 | 50 | %
Ca | calcium | serum | Beckman Coulter AU5800 | Arsenazo III method | 1.12 | 1.32 | mmol/l
AG | Anion gap | serum | Beckman Coulter AU5800 | Calculation | 8 | 30 | mmol/l
MONO# | mononuclear cell count | full blood | Sysmex XE-2100 | FCM with semiconductor laser | 0.1 | 0.6 | 10^9/L
PLT | platelet count | full blood | Sysmex XE-2100 | Hydrodynamic Focusing DC method | 125 | 350 | 10^9/L
NEU | neutrophil ratio | full blood | Sysmex XE-2100 | Calculation method | 40 | 75 | %
EO% | eosinophil ratio | full blood | Sysmex XE-2100 | Calculation method | 0.02 | 0.52 | 10^9/L
TP | Total protein | serum | Beckman Coulter AU5800 | Biuret method | 60 | 82 | g/l
UA | urie acid | serum | Beckman Coulter AU5800 | Urease method | 90 | 450 | μmol/l
RBC | Red blood cell count | full blood | Sysmex XE-2100 | Hydrodynamic Focusing DC method | 3.5 | 5.5 | 10^12/L
PCT | thrombocytocrit | full blood | Sysmex XE-2100 | Calculation method | 0.114 | 0.282 | L/L
CO2CP | carban dioxide-combining Power | serum | Beckman Coulter AU5800 | Enzymatic method | 18 | 30 | mmol/l
TBIL | total bilirubin | serum | Beckman Coulter AU5800 | Vanadate oxidation | 4 | 19 | μmol/l
HCT | hematocrit | full blood | Sysmex XE-2100 | Hydrodynamic Focusing DC method | 0.35 | 0.45 | L/L
MONO% | monocyte ratio | full blood | Sysmex XE-2100 | Calculation method | 3 | 10 | %
MCV | mean corpuscular volume | full blood | Sysmex XE-2100 | Calculation method | 82 | 100 | fL
ALP | Alkaline phosphatase | serum | Beckman Coulter AU5800 | NPP substrate-AMP buffer method | 25 | 130 | u/l